P720/3

BUILDING AND CONSTRUCTION

THEORY

Paper 3

AUGUST, 2019

2 HOURS

JINJA JOINT EXAMINATION BOARD

Uganda Advanced Certificate of Education

MOCK EXAMINATIONS – AUGUST, 2019

BUILDING AND CONSTRUCTION

THEORY

Paper 3

2 HOURS

INSTRUCTIONS TO CANDIDATES

- This question paper consists of Six questions

- Answer any FOUR questions

- All Questions carry equal marks

- Any additional questions answered will NOT be marked

- (a)     Outline the functions of each of the following members on the

building team.

- Building owner

- Architect

- Quantity surveyor	(03 marks)

(b)  	 (i)  Explain six factors to consider when selecting a site.  	(03 marks)

(ii)  Define site investigation.	(01 mark)

(iii) Give any four reasons why a site should be investigated.        	(02 marks)

( iv) Show how timbering can be done in loose wet soil. 	(03 marks)

(v)  Explain three methods of reducing levels.                   	(06 marks)

(c) 	A wall of a residential building showed signs of buckling. The wall is   adjacent 			to another building 3.5m a part in an estate belonging to the same owner.

- Using suitable sketch, name and show temporary supports that will be 	used 	to support the wall.	(03 marks)

- If the building with the buckling wall was alone in the plot, sketch an 	alternative temporary support that would be used.	(03 marks)

(iii) 	Mention two possible causes of buckling in walls.	(01 mark)

- (a) (i) What is the purpose of a foundation? 	(01 mark)

- Give the three functional requirements of a foundation	(03 marks)

(iii) Explain the following terms;	(05 marks)

- Back fill

- Bearing capacity

- Bearing pressure

- Made ground

- Settlement

(iv) Outline two causes of settlement.	 (02 marks)

(b)	 (i) Suggest four factors that influence the choice of a foundation type.	(04 marks)

(ii) Mention the data required to calculate overall loads of a building.	 (02 marks)

- Suggest two ways of determining the width of a foundation.	(02 marks)

(c)	Illustrate the following foundation types. 	(06 marks)

- Raft foundation

- Pile foundation

- Pad foundation

- (a)  (i)Define flush doors	(01 mark)

(ii) Give two types of flush doors           	(02 marks)

(iii)Sketch the two types of flush doors you have given in (ii) above to                                   			expose a portion of the interior.	(04 marks)

(b)      With the aid of a sketch, distinguish between;

(i) Door frame and door lining.	(04 marks)

(ii)An architrave and a door stop.	(04 marks)

(c) Distinguish between the following parts of a window

(i) Casement and fixed light.	(02 marks)

(ii) Mullion and transom.	(02 marks)

(d) 	(i)List any four window types based on their positions in a building.	(04 marks)

(ii)Give two fittings used on a window casement. 	(02 marks)

- (a) Distinguish between the following members used in roof construction.

- Firring pieces and tilting fillet.	(02 marks)

- Ridge board and ridge.	(02 marks)

- Common rafters and jack rafter.	(02 marks)

(b) 	Sketch the following roof types.	(06 marks)

- Collar roof

- Couple roof

- Lean to roof

(c) 	(i) state any four different types of materials used for each of the following;

- Pitched roof	(02 marks)

- Flat roof	(02 marks)

(ii) Illustrate any two types of eaves used in roof construction.	(04 marks)

(d)  	(i)Differentiate between a stair case and a stair well	(02 marks)

(ii) Mention three basic functional requirements of a stair.	(03 marks)

- (a)(i)Describe three components of a good paint. 	(03 marks)

(ii) Give three objectives of applying paint to a surface.	 (03 marks)

(iii) Describe the sequence of operation involved in painting new wood work. 			(06 marks)

(b) 	(i)State two  causes of causes of cracking in plaster work. 	(02 marks)

(ii)With aid of a sketch show how a wooden skirting can be secured to brick work. 		(02 marks)

(iii) What is flag stone flooring? 	(01 marks)

(iv) Give two advantages of flag stone flooring. 	 (02 marks)

(c) 	(i) sketch the two wood block floor finishing patterns.	 (02 marks)

(ii) What is granolithic floor and where it is suitably used. 	(02 marks)

(iv) Give two advantages and two disadvantages of granolithic floor finish.					(02 marks)

- (a)  (i) Define a wall as used in building construction. 	(01 mark)

(ii) Outline any four advantages of cavity wall over a solid wall construction. 					(04 marks)

(b)	(i)What is the difference between a lintel and  an arch? 	(01 mark)

(ii)In a neat sketch, show and name at least six parts of an arch.         	(04 marks)

(c) 	Define the following terms in relation to wall construction.	 (05 marks)

- Boot lintel

- Rough Arch

- Turning piece

- Pointing

- Quoin

(d) 	(i)Give any three factors that can affect the performance of a chimney. 	(03 marks)

(ii)With the aid of sketches, describe the following types of fire place construction.				(06 marks)

- Single fire place

- Back to back fire place

- Interlacing fire place

(iii)Mention any three principal requirements of a fire place.	(03marks)